## Slide 1: Alfa Laval SE43
Brazed plate heat exchanger for air conditioning and refrigeration 空调和制冷用钎焊板式换热器
Introduction 引言
Alfa Laval SE brazed plate heat exchangers provide efficient heat transfer with a small footprint. They are specifically designed to work as evaporators and condensers in applications such as chillers and heat pumps. 阿法拉伐SE钎焊板换热器具有占地面积小和有效的传热的特点。特殊的设计使其可在冷却器和热泵应用中作为蒸发器和冷凝器使用。
The Alfa Laval SE product line is thermally optimized for propane. It offers design and technical features specifically with safety in mind. 经过热优化， Alfa Laval SE生产线适用于丙烷。设计和技术功能特别考虑了安全因素。
Applications Benefits 应用 优势
Compact 紧凑型设计
Easy to install 易于安装
Self-cleaning 自清洁
Low level of service and maintenance is required 降低服务和维护等级
All units are pressure and leak tested 所有部件都经过压力和泄漏测试
Gasket free 无垫片
Branded Features 品牌特性
DynaStatic™
Flexible refrigerant distribution 柔性制冷剂分配
FlexFlow™
Superior thermal performance 优越的热性能
IceSafe
Controlled, non-destructive freezing 受控、非破坏性冷冻
PressureSecure
Unparalleled strength for demanding duties 无与伦比的功能，可完成高难度任务
REFuture
A future-proof investment for tomorrow’s refrigerants 为未来的制冷剂投资
ValuePlus
Total support – with value-adding options to fit your needs 全面支持-提供增值选项，以满足您的需求
Design 设计
The brazing material seals and holds the plates together at the contact points ensuring optimal heat transfer efficiency and pressure resistance. Using advanced design technologies and extensive verification guarantees the highest performance and longest possible service life. 钎焊材料将板片密封固定在接触点处，确保最佳的传热效率和耐压性。以上这些特点，加之先进的设计工艺和广泛验证可保证性能最佳和最长的使用期限。
Asymmetric channels provide optimal efficiency in the most compact design. This results in low refrigerant charge, which 最紧凑的设计及非对称通道可实现最佳效率，并降低制冷剂充注量。
is specifically important when using propane, and lower pressure drop on the water or brine side, reducing the CO2 footprint. 这在使用丙烷时尤为重要。并且还可降低水或盐水侧的压降，进而减少了二氧化碳足迹。
The product provides high performance, such as high evaporation temperature and low condensing temperature, which over its life time results in reduced environmental impact and lower operational cost 该产品具有高蒸发温度和低冷凝温度等高性能，可在其使用寿命内降低对环境的影响并降低运行成本。
The integrated distribution system ensures an even distribution of the refrigerant throughout the plate package. 集成式分配系统可确保制冷剂在整个板组内均匀分布。
Based on standard components and a modular concept, each unit is custom-built to meet the specific requirements of each individual installation. 每个单元都是根据标准组件和模块化概念定制的，以满足每个独特装置的具体要求。
Optimized for propane. 针对丙烷优化。
Examples of connections 接头示例
External thread 外螺纹
Welding 焊接
Internal thread 内螺纹
Soldering 钎焊
Classified by Alfa Laval as: Business

## Slide 2
Technical Data 技术参数
Standard materials 标准材料
Cover plates 盖板 Stainless steel 不锈钢
Connections 接头 Stainless steel 不锈钢
Plates 板 Stainless steel 不锈钢
Brazing filler 钎料 Copper 铜
Dimensions and weight 1 尺寸和重量 1
A-measurement (mm) A-测量(mm) 12.5 + (1.22 * n)
A-measurement (inches) A-测量(in) 0.49 + (0.05 * n)
Weight (kg) 2 重量(kg) 2 1.4 + (0.09 * n)
Weight (lb) 2 重量(lb) 2 3.09 + (0.20 * n)
Standard data 标准数据
Volume per channel, litres (gal) 各通道容量，升（加仑）
(S1–S2) 0.0418 (0.0110)
(S3–S4) 0.0263 (0.0069)
Max. particle size, mm (inch) 最大粒径，mm（in）
0.5 (0.020)
Max. flowrate 1 m3/h (gpm) 最大流量 1 m3/h (gpm)
8.8 (38.7)
Flow direction 流向
Parallel 并联
Min. number of plates 最少板数
4
Max. number of plates 最多板数
120
1 Water at 5 m/s (16.4 ft/s) (connection velocity) 1 5 m/s (16.4 ft/s) （接头速度）下的水
Dimensional drawing 尺寸图
Measurements in mm (inches) 测量值，单位：mm（in）
Design pressure and temperature 设计压力和温度
SE43 – PED approval pressure/temperature graph SE43 – PED 批准压力/温度图
n = number of plates n = 板数 Excluding connections 不包括接头
Designed for full vacuum. 全真空设计。
Alfa Laval plate heat exchangers are available with a wide range of pressure vessel approvals. Please contact your Alfa Laval representative for more information. 阿法拉伐板式换热器获得了各种压力容器批准。如需更多信息，请联系您的阿法拉伐代表。
NOTE: Values above are to be used as an indication. For exact values, please use the drawing generated by the Alfa Laval configurator or contact your local Alfa Laval representative. 注：以上值仅用于指示。具体数值，请参见阿法拉伐配置器生成的图纸或联系您当地的阿法拉伐代表。
This document and its contents are subject to copyrights and other intellectual property rights owned by Alfa Laval AB (publ) or any of its affiliates (jointly “Alfa Laval”). No part of this document may be copied, re-produced or transmitted in any form or by any means, or for any purpose, without Alfa Laval’s prior express written permission. Information and services provided in this document are made as a benefit and service to the user, and no representations or warranties are made about the accuracy or suitability of this information and these services for any purpose. All rights are reserved. 本文件及其内容受阿法拉伐公司[Alfa Laval AB (publ)]或其任何关联公司(合称“阿法拉伐”)拥有的版权和其他知识产权的约束。未经阿法拉伐事先明确书面许可，不得以任何形式、任何方式或出于任何目的复制、重新制作或传播本文件的任何部分。本文件所述信息和服务旨在为用户提供利益和服务。对于该等信息及服务的准确性和适用性，阿法拉伐集团公司不做任何声明与保证。版权所有。
200013484-1-EN-GB © Alfa Laval AB
How to contact Alfa Laval 如何联系阿法拉伐
www.alfalaval.com 请登录www.alfalaval.com获取阿法拉伐各国分支机构的最新联系信息。